Request for Quotation (RFQ) - Shopping For Goods/ Procurement of additional furniture for Agency for Payments
Date: June 2, 2026 
Project Title:
Second Institutional Development and Agriculture Strengthening Project (MIDAS 2) 

Source of Funding: World Bank loan
Loan No: 8820-ME

Contract Ref: MNE-MIDAS2-8820-ME-RFQ-G-26-1.2.2.3.4
Dear Supplier,

1. You are invited to submit your price quotation for Procurement of additional furniture for Agency for Payments

Information on technical specifications and required quantities are enclosed in Attachment 1 of RFQ.

2.
You must quote for all items together. Prices quoted shall correspond to 100% of the items specified and to 100% of the quantities specified.
3.
Your price quotation in the form attached may be submitted electronically, by e-mail, at the following address: e-mail: tsu@epa.org.me as a scanned document in PDF format, with a stamp and signature, and state in the subject:

"Procurement of additional furniture for Agency for Payments”, ref.no. MNE-MIDAS2-8820-ME-RFQ-G-26-1.2.2.3.4”      
4.  The deadline for receipt of your quotation (s) by the Purchaser at the addressed indicated in this paragraph: June 9, 2026 at 11,00h. Late bids will be rejected and shall not be considered for evaluation.
The Purchaser will respond in writing to any request for clarification, provided that such request is received prior to June 5, 2026, 11.00h.

5.
Your quotation in duplicate and in English language, should be accompanied by adequate technical documentation and catalogue(s) and other printed material or pertinent information for each item quoted, including names and addresses of firms providing service facilities in Montenegro.

6.
Your quotation(s) should be submitted as per the following instructions and in accordance with the attached Contract. The attached Terms and Conditions of Supply is an integral part of the Contract.

(i) PRICES:  The prices should be quoted in EUR for the Total Cost at final destination at Agency for Payments, Poslovni centar Kruševac, Rimski trg 70, Podgorica, Montenegro, which includes all taxes, VAT, customs, duties, inland transportation and insurance, loading and unloading and installation.
(ii) EVALUATION OF QUOTATIONS:  Offers determined to be substantially responsive to the technical specifications will be evaluated by comparison of the total price at final destination as per para. 2 above.
In evaluating the quotations, the Purchaser will determine for each bid the evaluated price by adjusting the price quotation by making any correction for any arithmetical errors as follows:


(a) where there is a discrepancy between amounts in figures and in words, the amount in words will govern;


(b) where is a discrepancy between the unit rate and the line item total resulting from multiplying the unit rate by the quantity, the unit rate as quoted will govern;


(c) if a Supplier refuses to accept the correction, his quotation will be rejected.

(iii) AWARD OF PURCHASE ORDER:  The award will be made to the bidder offering the lowest evaluated price and that meets the required standards of technical and financial capabilities.  The successful bidder will sign a Contract as per attached form of contract and terms and conditions of supply. 

(iv) VALIDITY OF THE OFFER: Your quotation(s) should be valid for a period of forty five (45) days from the deadline for receipt of quotation(s) indicated in Paragraph 5 of this Invitation to Quote.

7.
Further information can be obtained from:

Ministry of Finance

Technical Service Unit
Attn: Mirko Lješević
Studentska 2a
81000 Podgorica

e-mail: tsu@epa.org.me
Telephone: +382 20 201 695
Fax: +382 20 201 698

8.
Inspections and Audits
8.1
The Supplier shall carry out all instructions of the Purchaser which comply with the applicable laws where the destination is located.

8.2
 The Supplier shall permit, and shall cause its Subcontractors and consultants to permit, the Bank and/or persons appointed by the Bank to inspect the Supplier’s offices and all accounts and records relating to the performance of the Contract and the submission of the bid, and to have such accounts and records audited by auditors appointed by the Bank if requested by the Bank. The Supplier’s and its Subcontractors and consultants’ attention is drawn to Clause 5 Fraud and Corruption of the Form of Contract, which provides, inter alia, that acts intended to materially impede the exercise of the Bank’s inspection and audit rights constitute a prohibited practice subject to contract termination (as well as to a determination of ineligibility pursuant to the Bank’s prevailing sanctions procedures).
9.
Please confirm by fax/e-mail the receipt of this invitation and whether or not you will submit the price quotation(s).











 Sincerely,
        Mirko Ljesevic 

_____________________

TSU Procurement officer

FORM OF CONTRACT

THIS AGREEMENT number MNE-MIDAS2-8820-ME-RFQ-G-26-1.2.2.3.4
made on _________, _____ 2026, between Ministry of Agriculture, Forestry and Water Management, Rimski Trg 46, 81000 Podgorica, Montenegro, represented by Mr. Vladimir Joković, Minister (hereinafter called “the Purchaser”) on the one part  
and  ______________________________________  (hereinafter called “the Supplier”) on the other part.

WHEREAS the Purchaser has invited quotation for Procurement of additional furniture for Agency for Payments, viz. Contract MNE-MIDAS2-8820-ME-RFQ-G-26-1.2.2.3.4, (hereinafter called “Contract”) and has accepted the Bid by the Supplier for the supply of goods under Contract at the sum of ____________ (___________________________) hereinafter called “the Contract Price”.    
NOW THIS AGREEMENT witnessethes as follows: 

1. The following documents shall be deemed to form and be read and construed as part of this agreement, viz:

a) Invitation to Quote; Term and Conditions of Supply, Technical Specification;

b) Addendum (if applicable); 

2. Taking into account payments to be made by the Purchaser to the Supplier as hereinafter mentioned, the Supplier hereby concludes an Agreement with the Purchaser to execute and complete the supply of Contract and remedy any defects therein in conformity with the provisions of Contract.

3. The Purchaser hereby covenants to pay in consideration of the goods supply and acceptance of Contract and remedying of defects therein, the Contract Price in accordance with Payment Conditions prescribed by Contract.

4.  Termination
4.1 Termination for Default

(a) The Purchaser, without prejudice to any other remedy for breach of Contract, by written notice of default sent to the Supplier, may terminate the Contract in whole or in part:

(i) if the Supplier fails to deliver any or all of the Goods within the period specified in the Contract, or within any extension thereof granted. 
(ii) if the Supplier fails to perform any other obligation under the Contract; or

(iii) if the Supplier, in the judgment of the Purchaser has engaged in fraud and corruption, as defined in Clause 5 below, in competing for or in executing the Contract.

(b)
 In the event the Purchaser terminates the Contract in whole or in part, the Purchaser may procure, upon such terms and in such manner as it deems appropriate, Goods or Related Services similar to those undelivered or not performed and the Supplier shall be liable to the Purchaser for any additional costs for such similar Goods or Related Services.  However, the Supplier shall continue performance of the Contract to the extent not terminated.

4.2
Termination for Insolvency. 

(a) The Purchaser may at any time terminate the Contract by giving notice to the Supplier if the Supplier becomes bankrupt or otherwise insolvent.  In such event, termination will be without compensation to the Supplier, provided that such termination will not prejudice or affect any right of action or remedy that has accrued or will accrue thereafter to the Purchaser.
4.3
Termination for Convenience.

(a) The Purchaser, by notice sent to the Supplier, may terminate the Contract, in whole or in part, at any time for its convenience.  The notice of termination shall specify that termination is for the Purchaser’s convenience, the extent to which performance of the Supplier under the Contract is terminated, and the date upon which such termination becomes effective.

(b) The Goods that are complete and ready for shipment within twenty-eight (28) days after the Supplier’s receipt of notice of termination shall be accepted by the Purchaser at the Contract terms and prices.  For the remaining Goods, the Purchaser may elect: 

(i) to have any portion completed and delivered at the Contract terms and prices; and/or

(ii) to cancel the remainder and pay to the Supplier an agreed amount for partially completed Goods and Related Services and for materials and parts previously procured by the Supplier
Fraud and Corruption

5. If the Purchaser determines that the Supplier and/or any of its personnel, or its agents, or its Subcontractors, consultants, service providers, suppliers and/or their employees has engaged in corrupt, fraudulent, collusive, coercive or obstructive practices (as defined in the prevailing Bank’s sanctions procedures), in competing for or in executing the Contract, then the Purchaser may, after giving 14 days notice to the Supplier, terminate the Supplier's employment under the Contract and cancel the contract, and the provisions of Clause 4 shall apply as if such expulsion had been made under Sub-Clause 4.1.
6. Inspections and Audits
6.1 The Supplier shall carry out all instructions of the Purchaser which comply with the applicable laws where the destination is located

The Supplier shall permit, and shall cause its Subcontractors and consultants to permit, the Bank and/or persons appointed by the Bank to inspect the Supplier’s offices and all accounts and records relating to the performance of the Contract and the submission of the bid, and to have such accounts and records audited by auditors appointed by the Bank if requested by the Bank. The Supplier’s and its Subcontractors and consultants’ attention is drawn to Clause 5 Fraud and Corruption, which provides, inter alia, that acts intended to materially impede the exercise of the Bank’s inspection and audit rights constitute a prohibited practice subject to contract termination (as well as to a determination of ineligibility pursuant to the Bank’s prevailing sanctions procedures).
	Signature and seal of the Purchaser:

FOR AND ON BEHALF OF

_______________________

Name of Authorized Representative
	Signature and seal of the Suppler:

FOR AND ON BEHALF OF

____________________________

Name of Authorized Representative


FORM OF QUOTATION










_________(Date)
To: Ministry of Finance

Technical Service Unit
Attn: Mirko Lješević
ul. Studentska 2a
81000 Podgorica, Montenegro
e-mail: tsu@epa.org.me 
Telephone: +382 20 201 695
Fax: +382 20 201 698      
We offer to execute the Procurement of additional furniture for Agency for Payments, No. MNE-MIDAS2-8820-ME-RFQ-G-26-1.2.2.3.4 in accordance with the Conditions of Contract accompanying this Quotation for the Contract Price of:_________________________(amount in words and numbers) (______________) EUR.  
We propose to complete the delivery of Goods described in the Contract within a period of not later than 15 calendar days from the Date of Signing of the Contract.   
This Quotation and your written acceptance will constitute a binding Contract between us.  We understand that you are not bound to accept the lowest or any Quotation you receive. 
We hereby confirm that this Quotation complies with the Validity of the Quotation required by the proposal documents. 
Authorized Signature:______________________________________

Name and Title of Signatory_________________________________




         _________________________________

Name of Supplier:_______________________________________

Address:
         _______________________________________



         _______________________________________

Phone Number         ___________________

Fax Number, if any ___________________
Terms and Conditions of Supply
Project Name: Procurement of additional furniture for Agency for Payments
Purchaser: Ministry of Agriculture, Forestry and Water Management
Consignee: Agency for Payments
Package No. 1
1. Prices and Schedules for Supply
	No.
	Item
	Pcs/m
	Unit Price (includes all taxes, VAT, customs, duties, inland transportation, loading, unloading, installation and insurance)
(EUR)
	Unit Price (includes all taxes, VAT, customs, duties, inland transportation, loading, unloading, installation and insurance)
(EUR)
	Delivery date

	a)
	b)
	c)
	d)
	e)=c) x d)
	f)

	1
	Chair
	5
	
	
	Delivery deadline: 15 days after Contract signature

	2
	Desk
	3
	
	
	Delivery deadline: 15 days after Contract signature

	3
	Drawer
	3
	
	
	Delivery deadline: 15 days after Contract signature

	4
	Closet
	2
	
	
	Delivery deadline: 15 days after Contract signature

	5
	Closet (smaller)
	2
	
	
	Delivery deadline: 15 days after Contract signature

	6
	Closet with Fire Protection
	3
	
	
	Delivery deadline: 15 days after Contract signature

	7
	Dracena (Dracaena fragrans) with three trees
	3
	
	
	Delivery deadline: 15 days after Contract signature

	8
	Zamioculus (Zamioculus zamiifolia)
	1
	
	
	Delivery deadline: 15 days after Contract signature

	9
	Dracena razgranata (Branched)
	1
	
	
	Delivery deadline: 15 days after Contract signature

	10
	Juka (Yucca elephantipes) with three trees
	1
	
	
	Delivery deadline: 15 days after Contract signature

	11
	Decorative pot
	1
	
	
	Delivery deadline: 15 days after Contract signature

	12
	Decorative pot
	5
	
	
	Delivery deadline: 15 days after Contract signature

	TOTAL:
	
	


{Note: In case of discrepancy between unit price and total derived from unit price, the unit price shall prevail}

2. Fixed Price: The prices indicated above are firm and fixed and not subject to any adjustment during contract performance.

3. The Purchaser reserves the right at the time of contract finalization to increase or decrease by up to 0% the quantity of goods and services originally specified without any change in unit prices as well as other terms and conditions.

Delivery Schedule: The delivery should be completed as per above schedule but not exceeding 15 days from contract signature day. Delivery will be at the address of the Agency for Payments, Poslovni centar Kruševac, Rimski trg 70, Podgorica, Montenegro. 
4. Insurance: The Goods supplied under the Contract shall be fully insured in a freely convertible currency against loss of damage incidental to manufacture or acquisition, transportation, storage and delivery. The insurance shall be in an amount equal to 110 percent of the total value of the Goods from «Warehouse» to «Warehouse» on «All risks» basis, including «War Risks». The Supplier shall arrange and pay for cargo insurance, naming the Purchaser as the beneficiary.

5. Applicable Law: The Contract shall be interpreted in accordance with the laws of the Purchaser's country.

6. Resolution of Disputes: The Purchaser and the Supplier shall make every effort to resolve amicably by direct informal negotiation any disagreement or dispute between them under or in connection with the Contract. In the case of a dispute between the Purchaser and the Supplier, the dispute shall be settled in accordance with the country procedures.

7. Delivery and Documents: Upon shipment, the Supplier shall notify the Purchaser and the Insurance Company by cable of fax the full details of shipment, including purchase order number, description of goods, quantity, the vessel, the Shipping and Forwarding Receipt from freight Company showing full details, port of loading, date of shipment, port of discharge, etc. The Supplier shall mail the following documents to the Purchaser, with a copy to the Insurance Company:

(i) copies of the Supplier’s invoice showing goods’ description, quantity, unit price, and total amount;

(ii) duplicate air/ truck transport document and/ or duplicate of railway transport document, and/or duplicate FCR ( Forwarders Certificate of Receipt) in 1 Original and 2 Copies marked «freight prepaid»;

(iii) copies of the packing list identifying contents of each package;

(iv) manufacturer's or supplier's warranty certificate;

(v) certificate of origin;

(vi) certificate of quality.
The above documents shall be received by the Purchaser at least one week before arrival of the goods at the port of place of arrival and, if not received, the Supplier shall be responsible for any consequent expenses.

9.
Payment for your invoice will be made as follows: 100% against delivery of shipping documents and acceptance of goods, within thirty (30) days after the date of the Acceptance Certificate for the respective delivery, issued by the Purchaser.
10. Warranty: Goods offered should be covered by manufacturer’s warranty for at least as specified in technical specification.   
11. Packaging and Marking Instructions:  The Supplier shall provide standard packing of the Goods as required to prevent their damage or deterioration during transit to their final destination, as indicated in the Contract.

12. Defects: All defects will be corrected by the Supplier without any cost to the Purchaser within 30 day from the date of notice by Purchaser. Name and address of service facility which the defects are to be corrected by the supplier within the warranty period:

       

Address _______________



______________________
13. Force-Majeure:  The supplier shall not be liable for penalties or termination for default if and to the extent that its delay in performance or other failure to perform its obligations under the Contract is the result of an event of Force-Majeure.

For purposes of this clause, “Force-Majeure” means an events beyond the control of the Supplier and not involving the Supplier’s fault or negligence and not foreseeable. Such events may include, but not restricted to, act of Purchaser in its sovereign capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions, and freight embargoes.
If a Force-Majeure situation arises, the Supplier shall promptly notify the purchaser in writing of such condition and the cause thereof. Unless otherwise directed by the Purchaser in writing, the Supplier shall continue to perform its obligations under the Contract as far as is reasonably practical, and shall seek all reasonable alternative means for performance not prevented by Force-Majeure event. 
14. Required Technical Specifications

(i) 
General Description


(ii)
Specific details and technical standards


(iii)
Performance Parameters


Supplier confirms compliance with above specifications {In case of deviations supplier to list all such deviations}.
15. Failure to Perform: The Purchaser may cancel the Agreement if the Supplier fails to deliver the Goods, in accordance with the above terms and conditions, in spite of a 21 day notice given by the Purchaser, without incurring any liability to the Supplier. 


NAME OF SUPPLIER________________________________________________



Authorized Signature________________________________________


Place:


Date:

Attachment 1 
Technical Specification

Required by the Purchaser

	
	INVESTITOR: Ministarstvo poljoprivrede, šumarstva i vodoprivrede
	
	

	
	OBJEKAT: Opremanje i uređenje Glavne kancelarije Crnogorske Agencije za plaćanja u poljoprivredi
	
	

	
	PREDMET USLUGA: Opremanje nedostajućim  NAMJEŠTAJEM
	
	

	
	LOKACIJA: Poslovni centar Kruševac, Rimski trg 70, Podgorica
	
	

	 
	 
	jed.
	količina

	 
	Ergonomic work chair with integrated lumbar support, adapted for intensive office use, made of high-quality black plastic, with a five-legged base made of reinforced nylon and a central steel cone for additional stability and durability. The seat is covered with fabric equipped with comfortable padding for extended working comfort, while the backrest is upholstered with graphite gray fabric and shaped for ergonomic support of the spine. The chair is equipped with wheels for soft surfaces that enable quiet and smooth movement
	 
	 

	 
	STOLICA/ CHAIR
	5
	kom.

	 
	Functional desk  dimensions 1400 × 700 × 740 mm, suitable for modern office spaces. Worktop made of refined chipboard in bleached oak decor, with a wear-resistant and easy-to-maintain finish. Metal legs powder-coated in dark gray provide stability and visual elegance.
	 
	 

	 
	 STO/DESK
	3
	kom.

	 
	Compact mobile drawer with three drawers and central locking, dimensions 298 × 600 × 560 mm, intended for placement under desks in modern offices. Drawer fronts made of refined chipboard in bleached oak decor, while the body is made of refined chipboard in dark gray color. It is equipped with handles in a dark gray shade and wheels for easy movement.
	 
	 

	 
	FIOKA/DRAWER
	3
	kom.

	 
	Assembled cabinet with door and lock , dimensions 800 × 400 × 2240 mm, equipped with six shelves of approx. 36 cm each (adequate for storage of binders). Body and fronts made of refined chipboard in bleached oak decor, wear-resistant and easy to maintain. The closet door opening mechanism is classic, with hinges. The handles in dark gray color provide a discreet visual accent, while the plastic legs (6 pieces) allow for leveling and stability of the element/Sklopljeni ormar sa vratima i bravicom 800*400*2240, sa 6 polica
	 
	 

	 
	PLAKAR/CLOSET
	2
	kom.

	 
	Assembled cabinet with door and lock, dimensions 800 × 400 × 720 mm, equipped with 2 shelves of approx. Body and fronts made of refined chipboard in bleached oak decor, wear-resistant and easy to maintain. The closet door opening mechanism is classic, with hinges. The handles in dark gray color provide a discreet visual accent, while the plastic legs (5 pieces) allow for leveling and stability of the element./Sklopljeni ormar sa vratima i bravicom 800*400*720, sa 2 police
	 
	 

	 
	PLAKAR manji/CLOSET
	2
	kom.

	 
	Freestanding office cabinet made of plasticized steel sheet, with textured surface treatment in industrial finish. Intended for the organization and protection of documentation in business and archive spaces. The load-bearing structure provides basic fire resistance, slowing down thermal penetration in the event of a fire (passive protection). The cabinet contains four adjustable steel shelves with a load capacity adapted to A4 and hanging folders (up to 5 vertical heights). Double folding doors with internal hinges open at an angle of 180°, with a rotary cylinder-lock with a three-point locking mechanism. Designed for installation in office, administrative and archival environments. Compatible with modern standards of spatial optimization and ergonomic approach to document storage/ Samostojeći kancelarijski orman izrađen od plastificiranog čeličnog lima, sa teksturisanom površinskom obradom u industrijskom finišu. Namijenjen za organizaciju i zaštitu dokumentacije u poslovnim i arhivskim prostorima.
	 
	 

	 
	PPP PLAKAR SA ZAŠTITOM OD POŽARA/ CLOSET WITH FIRE PROTECTION 
	3
	kom.

	 
	Indoor decorative plant of the Dracaena fragrans species, formed by at least three trees of different heights. Total height of the plant with the production pot at least 90 cm. The plant must be healthy, well developed, with neat and undamaged leaves, without signs of diseases and pests./Sobna ukrasna biljka vrste Dracaena fragrans, formirana od najmaje tri stabla različite visin.Ukupna visina biljke sa proizvodnaom saksijom najmanje 90cm. Biljka mora biti zdrava, dobro razvijena, sa urednim i neoštećenim listovima, bez znakova bolesti i štetočina.
	 
	 

	 
	Dracena (Dracaena fragrans) with three trees/sa tri stabla
	3
	kom

	 
	Indoor ornamental plant of the Zamioculus zamiifolia species, the total height of the plant with the production pot is at least 100 cm. The plant must be healthy, well developed, with neat and undamaged leaves, without signs of diseases and pests./Sobna ukrasna biljka vrste Zamioculus zamiifolia, ukupna visina biljke sa proizvodnaom saksijom najmanje 100cm. Biljka mora biti zdrava, dobro razvijena, sa urednim i neoštećenim listovima, bez znakova bolesti i štetočina.
	 
	 

	 
	Zamioculus (Zamioculus zamiifolia)
	1
	kom

	 
	Indoor decorative plant of the species Dracaena fragrans, the total height of the plant with the production pot is at least 170 cm. The plant must be healthy, well developed, with neat and undamaged leaves, without signs of diseases and pests./Sobna ukrasna biljka vrste Dracaena fragrans, ukupna visina biljke sa proizvodnaom saksijom najmanje 170cm. Biljka mora biti zdrava, dobro razvijena, sa urednim i neoštećenim listovima, bez znakova bolesti i štetočina.
	 
	 

	 
	Dracena razgranata (Branched)
	1
	kom

	 
	Indoor ornamental plant of the species Yucca elephantipes, total height of the plant with the production pot at least 130cm. The plant must be healthy, well developed, with neat and undamaged leaves, without signs of disease or pests./Sobna ukrasna biljka vrste Yucca elephantipes, ukupna visina biljke sa proizvodnaom saksijom najmanje 130cm. Biljka mora biti zdrava, dobro razvijena, sa urednim i neoštećenim listovima, bez znakova bolesti i štetočina.
	 
	 

	 
	Juka (Yucca elephantipes) with three trees/sa tri stabla
	1
	kom

	 
	Decorative pot for indoor use, gray or equivalent shades. Made of quality composite material, polyresin or high-resistance plastic. Dimensions approximately 254 cm and height 67 cm (permissible deviation plus/minus 10%). Waterproof and suitable for housing indoor plants./Dekorativna saksija za unutrašnju upotrebu, sive boje ili ekvivalentne nijanse. Izrađena od kvalitetnog kompozitnog materijala, polirezna ili plastikavisoke otpornosti. Dimenzije približno 254 cm i visine 67 cm (dozvoljeno odstupanje plus/minus 10%). Vodootporna i pogodna za smještaj sobnog bilja.
	 
	 

	 
	Decorative pot/Dekorativna saksija siva
	1
	kom

	 
	Decorative pot for indoor use, white. Made of quality composite material, polyresin or high-resistance plastic. Diameter approximately 43 cm (permissible deviation plus/minus 10%). High-quality finish./Dekorativna saksija za unutrašnju upotrebu, bijele boje. Izrađena od kvalitetnog kompozitnog materijala, polirezna ili plastikavisoke otpornosti. Prečnik približno 43 cm (dozvoljeno odstupanje plus/minus 10%). Završna obrada visokog kvaliteta.
	 
	 

	 
	Decorative pot/Dekorativna saksija
	5
	kom

	
	Delivery date 15 day upon signing of the contract
	
	

	
	Delivery will be at the address of the Agency for Payment,  Rimski trg 70 (PC KRUŠEVAC), Podgorica Montenegro. 

	
	The price should include the installation and assembly of all items.
	
	


7 | Page

